## Soil Resistivity
Test Date
| Instrument Mfg. |  |  |  | Operator Name
| Model |  |  |  |  | Test Location
| Serial # |  |  |  |  | Address
Test Conditions
|  | Soil Condition: |  |  | Moist |  | Dry | Temperature |  | °F | °C
[5 empty] | Clay |  | Limestone | Sand & Gravel
|  | Soil Type: |  |  | Granite |  | Shale | Sandstone
[5 empty] | Loam |  | Slate | Other
| Electrode Spacing (A) |  |  | ft |  |  | Electrode depth (B) |  | ft
Test 1
Test 5
| Test 4 | [6 empty] | Test 2
Test 3
| rho calculation |  | ρ = 191.5AR
|  | Test Reading | Soil Resistivity
| Test | R | ρ |  |  |  | Effective soil resistivity: | 0 | Ω - cm
| 1 | 0 | 0
| 2 | 0 | 0
| 3 | 0 | 0
| 4 | 0 | 0
| 5 | 0 | 0
Chauvin Arnoux®, Inc. d.b.a. AEMC® Instruments
www.aemc.com ¦ (800) 343-1391 ¦ techsupport@aemc.com
15 Faraday Drive ¦ Dover, NH 03820
A
A
A

## Instructions
Instructions for Fall of Potential Plot Tab
1. Fill in operator and instrument information
2. Determine and check off test conditions and soil type
3. Determine Electrode spacing in feet using the Wenner method and enter it into in cell D36 (orange box)
4. Enter test electrode depth (B) in cell J36 (orange box)
5. Conduct test and record the reading in cell F39 (yellow box), the soil resistivity ρ will fill in automatically
6. Repeat the process for tests 2 through 5 and enter readings in cells J46, F57 B46 and F45
6. The average soil resistivity will fill in automatically in cell J63 (green box)
7. Print report and save file using a different name
Chauvin Arnoux®, Inc. d.b.a. AEMC® Instruments
www.aemc.com ¦ (800) 343-1391 ¦ techsupport@aemc.com
15 Faraday Drive ¦ Dover, NH 03820

## Example
[11 empty] | Test Date | 2006-03-12
| Instrument Mfg. | AEMC |  |  | Operator Name |  | Joe Ground Tester
| Model | 4630 |  |  |  | Test Location | 200 Foxborough Blvd
| Serial # | 125-5B |  |  |  | Address | 200 Foxborough Blvd, Foxborough, MA
Test Conditions
|  | Soil Condition: |  |  | Moist | X | Dry | Temperature | 62 | °F
[5 empty] | Clay |  | Limestone | Sand & Gravel
|  | Soil Type: |  |  | Granite | X | Shale | Sandstone
[5 empty] | Loam |  | Slate | Other
| Electrode Spacing (A) |  | 10 | ft |  |  | Electrode depth (B) | 0.5 | ft
Test 1
22.5
Test 5
| Test 4 |  |  |  | 47 |  |  | Test 2
| 42 | [6 empty] | 55
Test 3
40
| rho calculation |  | ρ = 191.5AR
|  | Test Reading | Soil Resistivity
| Test | R | ρ |  |  |  | Effective soil resistivity: | 79089.5 | Ω - cm
| 1 | 22.5 | 43087.5
| 2 | 55 | 105325
| 3 | 40 | 76600
| 4 | 42 | 80430
| 5 | 47 | 90005
Chauvin Arnoux®, Inc. d.b.a. AEMC® Instruments
www.aemc.com ¦ (800) 343-1391 ¦ techsupport@aemc.com
15 Faraday Drive ¦ Dover, NH 03820
A
A
A