# Model 1060 LabVIEW Driver

# Overview:

| Manufacturer: | AEMC / Chauvin Arnoux Inc. |
| --- | --- |
| Instrument Type: | Megohmmeter |
| Models Tested: | 1060 |
| Supported Versions: | LabVIEW 2014 |
| Interface Type: | Serial |
| Driver Revision: | 1.0 |
| Original Release Date: | 05/06/2015 |
| Current Revision Date: | 05/06/2015 |

# Driver Details:

### Configuration Functions

- Configure Measurement Function—configures measurement range (50 V, 100 V, 250 V, 500 V, 1000 V, R – 400k, Continuity)

### Data Functions

- Read Resistance Data—reads the: test voltage; test current; resistance; DAR; PI; capacitance; DAR1 (first DAR measurement); PI1 (first PI measurement)

- Read Voltage Data—reads the input voltage and frequency detected at the test terminals

### Utility Functions

- Alarm Control—enables/disables the alarm function of the meter

- StartStop Test—starts or stops a test

# Revision History:

| Version | Date | Description |
| --- | --- | --- |
| 1.0 | 05/06/2015 | Original Release |