# Model 50xx LabVIEW Driver

# Overview:

| Manufacturer: | AEMC / Chauvin Arnoux Inc. |
| --- | --- |
| Instrument Type: | Megohmmeter |
| Models Tested: | 5060 & 5070 |
| Supported Versions: | LabVIEW 2014 |
| Interface Type: | Serial |
| Driver Revision: | 1.1 |
| Original Release Date: | 04/28/2015 |
| Current Revision Date: | 05/26/2015 |

# Driver Details:

### Configuration Functions

- Configure Test—configures measurement mode and test voltage. The supported measurement modes are:

  - Manual—the test is terminated manually by the user.

  - DD—insulation is charged for the Measurement Duration configured into the instrument and followed by a one minute DD test.

  - DAR—the test is terminated after the one minute DAR test is complete.

  - PI—the test is terminated after the ten minute PI test is complete.

### Data Functions

- Identify—reads instrument name, serial number, and firmware version

- Read Resistance Data—reads voltage, current, resistance, capacitance, DAR, PI, DD, and IDD

### Utility Functions

- Start/Stop Test—starts or stops a test

- Enable/Disable Alarm—enables or disables alarm feature

### Action/Status Functions

- Status—reads the measurement status of the instrument.

# Revision History:

| Version | Date | Description |
| --- | --- | --- |
| 1.0 | 04/28/2015 | Original Release |
| 1.1 | 05/26/2015 | Added status VI, improved continuous resistance example, added baud rate control, and removed dielectric discharge example. |