# Model 655x LabVIEW Driver

# Overview:

| Manufacturer: | AEMC / Chauvin Arnoux Inc. |
| --- | --- |
| Instrument Type: | Megohmmeter |
| Models Tested: | 6550, 6555 |
| Supported Versions: | LabVIEW 2014 |
| Interface Type: | USB |
| Driver Revision: | 1.0 |
| Original Release Date: | 05/13/2015 |
| Current Revision Date: | 05/13/2015 |

# Driver Details:

### Configuration Functions

- Configure Measurement Function—configures the test voltage, measurement mode, and test type. The supported measurement modes are Manual, DD, DAR, and PI. The supported test types are Burn-in, Early Break, and Break at L-Limit.

### Data Functions

- Read Data—reads 23 different measurements from the meter.

### Utility Functions

- Alarm OnOff—enables or disables the alarm function using the limits configured into the meter.

- StartStop Test—starts or stops the configured test.

### Action/Status Functions

- Status—reports ON/OFF statuses of the meter including: Remote Mode, Measurement Active, Output Voltage On, Discharge Active, and I_DD / DD Measurement Active.

# Revision History:

| Version | Date | Description |
| --- | --- | --- |
| 1.0 | 05/13/2015 | Original Release |