# Model 8xxx LabVIEW Driver

# Overview:

| Manufacturer: | AEMC / Chauvin Arnoux Inc. |
| --- | --- |
| Instrument Type: | Power Quality Analyzer |
| Models Tested: | 8333, 8435, 8335, & 8336 |
| Supported Versions: | LabVIEW 2014 |
| Interface Type: | USB |
| Driver Revision: | 1.0 |
| Original Release Date: | 05/28/2015 |
| Current Revision Date: | 05/28/2015 |

# Driver Details:

### Configuration Functions

- Configure AmpFlex Range—configures the AmpFlex current range (100 A, 6500 A, or 10 kA). This function does not work for the model 8335, because it only supports the 6500 A range.

- Configure Hookup—configures the distribution system used by the instrument. Some distribution systems are not supported by the 8333, and are marked with an asterisk.

### Data Functions

- Read Waveform Data—reads the waveform table from the instrument. The output is a 2D array containing most of the waveform measurements reported by the instrument.

- Read Power Data—reads the power table from the instrument. The output is a 2D array containing all of the power measurements reported by the instrument.

# Revision History:

| Version | Date | Description |
| --- | --- | --- |
| 1.0 | 05/28/2015 | Original Release |