# PEL 10x LabVIEW Driver

# Overview:

| Manufacturer: | AEMC / Chauvin Arnoux Inc. |
| --- | --- |
| Instrument Type: | Power and Energy Logger |
| Models Tested: | 102, 103 |
| Supported Versions: | LabVIEW 2014 |
| Interface Type: | USB |
| Driver Revision: | 1.0 |
| Original Release Date: | 05/26/2015 |
| Current Revision Date: | 05/26/2015 |

# Driver Details:

### Configuration Functions

- Configure AmpFlex Range—configures the AmpFlex current range (100 A, 400 A, 2000 A, or 10 kA).

- Configure Hookup—configures the distribution system used by the instrument.

### Data Functions

- Read 1 Second Data—reads the 1 second data from the instrument.

# Revision History:

| Version | Date | Description |
| --- | --- | --- |
| 1.0 | 05/26/2015 | Original Release |