# Simple Logger II LabVIEW Driver

# Overview:

| Manufacturer: | AEMC / Chauvin Arnoux Inc. |
| --- | --- |
| Instrument Type: | Simple Logger II Product Line (excluding L702 Temperature / Relative Humidity Logger) |
| Supported Versions: | LabVIEW 2014 |
| Interface Type: | USB / Bluetooth |
| Driver Revision: | 1.0 |
| Original Release Date: | 09/22/2015 |
| Current Revision Date: | 09/22/2015 |

# Driver Details:

### Configuration Functions

- Configure SLII—configures the measurement range of each logger channel. This VI can only be used with L432, L642, AL834, ML912, and ML914 models.

### Data Functions

- Read Real Time Data—reads the real time data from the instrument. This VI outputs the measurements with user scaling applied, the user defined unit of each channel, and the default output unit of the logger.

# Revision History:

| Version | Date | Description |
| --- | --- | --- |
| 1.0 | 09/22/2015 | Original Release |